# RadFlow-Edge: A High-Value Health System Paradigm for Nurse-Led Radiological Triage in Resource-Constrained Environments

## 1. Problem Analysis: The Systemic Failure of Diagnostic Access

The 2026 Harvard Health Systems Innovation Lab (HSIL) Hackathon frames a critical imperative: to leverage Artificial Intelligence (AI) not merely as a technological novelty, but as a structural intervention to build "High-Value Health Systems".1 The core definition of a High-Value Health System (HVHS) delivers effective, efficient, and equitable care by optimizing existing resources to enable populations to attain their highest level of health.2 However, current global health systems are failing to meet this standard due to a catastrophic misalignment between diagnostic demand and workforce supply, particularly in the domain of medical imaging.

### 1.1 The Global Radiology Workforce Crisis

The shortage of the healthcare workforce is identified as a priority challenge for the HSIL Hackathon.1 This shortage is most acute in diagnostic radiology, a specialty that serves as the nexus for managing communicable diseases (like Tuberculosis and Pneumonia), non-communicable diseases (like lung cancer and cardiac failure), and trauma.

In mature healthcare markets like the United States, the system is straining under the weight of increasing utilization. The Association of American Medical Colleges (AAMC) projects a physician shortage that persists despite interventions, and specifically within radiology, the vacancy rates are climbing alarmingly. Between 2023 and 2025, vacancy rates for Computed Tomography (CT) technologists rose to 19.4%, and Bone Densitometry vacancies surged from 6.9% to 16.3%.4 This domestic shortage is driven by a "burnout loop" where increased imaging volumes—projected to rise by up to 26.9% by 2055—are met with a stagnant supply of radiologists.5 The result is a workforce that is "stretched at the seams," facing cognitive overload that threatens patient safety and exacerbates attrition.6

However, in Low- and Middle-Income Countries (LMICs), the situation transitions from a "shortage" to a complete "absence." The data reveals a staggering inequity: while the US grapples with delay, nations like Rwanda (11 radiologists for 12 million people) and Liberia (2 radiologists for 4 million people) face a reality where diagnostic imaging is effectively nonexistent for the majority of the population.7 In these settings, the "Health System Intelligence" component of the HVHS model—which requires using data to expand system reach 3—is broken. Digital X-ray machines (modalities) are increasingly available due to international aid and lower hardware costs 8, creating a "Hardware-Data Gap": images are generated, but there are no human experts to interpret them.

### 1.2 The Triage Bottleneck and Mortality

The clinical consequence of this workforce void is the "Triage Bottleneck." In rural Primary Health Centers (PHCs) across Sub-Saharan Africa and Southeast Asia, patients presenting with respiratory distress undergo Chest X-Rays (CXR). In a functional system, these images would be reviewed immediately to differentiate between Pneumonia (requiring antibiotics), Tuberculosis (requiring isolation and long-term therapy), and Congestive Heart Failure (requiring diuretics).

In the current workforce-deficient model, these images languish. They may be queued for teleradiology services that are overwhelmed, or interpreted by frontline nurses and general practitioners who lack formal radiological training.9 This lack of timely interpretation leads to:

- Delayed Treatment: For time-sensitive conditions like bacterial pneumonia, the "door-to-needle" time is a predictor of mortality. Delays in reading X-rays directly translate to increased morbidity.

- Misdiagnosis: Without decision support, non-specialists may misinterpret TB cavitations for lung abscesses, leading to inappropriate treatment and continued community transmission of pathogens.

- Resource Wastage: Patients are often transferred unnecessarily to tertiary centers because the local clinic cannot definitively rule out pathology, incurring massive costs for the family and the state—a direct violation of the "Efficiency" tenet of High-Value Health Systems.2

Evidence suggests that implementing effective, timely triage systems in rural settings can reduce mortality by up to 45%.10 Therefore, the problem is not a lack of treatment capability, but a lack of diagnostic recognition. The solution must focus on "Task Shifting"—empowering the available workforce (nurses) with the capabilities of the unavailable workforce (radiologists).11

### 1.3 The Limitations of Current AI Approaches

While "Diagnostic Tools" is a hackathon theme 1, existing Computer-Aided Diagnosis (CAD) solutions often fail in these environments due to three factors:

- Black Box Mistrust: Traditional Convolutional Neural Networks (CNNs) output a probability score (e.g., "TB: 0.85"). They do not explain why. In a high-stakes environment, a nurse cannot trust a "magic number," leading to low adoption.13

- Lack of Context: Most AI models analyze the image in isolation. However, clinical diagnosis is multimodal; a shadow on an X-ray means something different in a patient with a fever versus a patient with trauma. Ignoring the Electronic Health Record (EHR) leads to lower specificity.

- Connectivity Barriers: Cloud-based AI solutions require stable, high-bandwidth internet to upload DICOM files for processing. In rural LMIC settings, connectivity is intermittent or costly, creating a "Communication Barrier".1

### 1.4 Problem Statement

To address the "Healthcare Workforce Shortages" and "Fragmented Care" themes of the Harvard HSIL Hackathon 2026 1, we must solve the following challenge:

How can we engineer a high-value, multimodal diagnostic ecosystem that safely shifts the burden of radiographic interpretation to frontline nurses in offline, resource-constrained environments, thereby eliminating the diagnostic bottleneck?

## 2. Concept: RadFlow-Edge

RadFlow-Edge is proposed as a transformative solution designed specifically for the Harvard HSIL Hackathon 2026. It is a Nurse-Led, Edge-Native, Multimodal AI Triage Assistant.

### 2.1 Core Philosophy: Task Shifting via "Augmented Intelligence."

RadFlow-Edge is not designed to replace radiologists but to facilitate rigorous "Task Shifting".11 The concept aligns with the World Health Organization (WHO) and HSIL guidelines on expanding workforce capacity through innovation.11 The system empowers nurses to perform "Preliminary Triage" with expert-level decision support, effectively filtering the patient load so that scarce radiologists focus only on complex cases.

The core differentiator is the shift from Static Prediction (Standard CAD) to Interactive Reasoning (MedVQA). RadFlow-Edge utilizes Medical Visual Question Answering (MedVQA) technologies 1 to act as a conversational partner. Instead of simply receiving a diagnosis, the nurse can interrogate the system:

- Nurse: "I see a shadow in the right upper zone. Is this consistent with TB?"

- RadFlow-Edge: "Yes, there is a cavitary lesion in the right apical zone. Combined with the patient's history of night sweats, this is highly suggestive of active Tuberculosis."

This interaction mimics the "curbside consult" workflow of a teaching hospital, providing both diagnostic utility and educational value (Health Literacy).1

### 2.2 The Three Pillars of RadFlow-Edge

The solution concept rests on three technological and operational pillars that align with the "Innovation & Technical Feasibility" judging criteria 1:

#### 2.2.1 Multimodal Fusion (The "Brain")

RadFlow-Edge utilizes a Multimodal Large Language Model (MLLM) capable of processing pixel data (X-rays) and text data (Clinical Notes) simultaneously.13 This mimics the human radiologist's workflow, where the image is never interpreted in a vacuum. By integrating clinical history (e.g., "HIV positive," "Cough > 2 weeks"), the AI reduces false positives and aligns with the "EHR Analysis" theme.1

#### 2.2.2 Edge-Native Independence (The "Body")

To address the "Communication Barriers" and infrastructure gaps in LMICs 1, RadFlow-Edge is designed to run entirely offline on consumer-grade hardware (e.g., NVIDIA Jetson or standard gaming laptops) using Quantization techniques.17 This ensures that the "High-Value Health System" is resilient, functioning even when the internet is down.

#### 2.2.3 Safety-First Governance (The "Conscience")

Recognizing the risks of AI hallucinations and the ethical requirement for "Algorithmic Bias" mitigation 1, RadFlow-Edge incorporates Retrieval-Augmented Generation (RAG) 18 and Uncertainty Quantification (UQ).19 The system does not just guess; if it is unsure, it explicitly flags the case for human specialist review, creating a safety net that protects both the patient and the nurse.

### 2.3 Alignment with HSIL Themes

RadFlow-Edge directly addresses multiple priority themes outlined in the participant guide 1:

- Healthcare Workforce Shortages: By upskilling nurses.

- Diagnostic Tools: By providing advanced radiologic interpretation.

- Clinical Chatbots: Through the MedVQA conversational interface.

- Fragmented Care: By integrating imaging and EHR data into a single workflow.

- Health Literacy: By explaining diagnoses to the nurse, who can then better communicate with the patient.

## 3. Integration into Clinical Workflows

For a solution to be "feasible" and receive high marks on "Implementation Plan" 1, it must seamlessly integrate into the chaotic reality of a rural hospital. RadFlow-Edge acts as a middleware layer, bridging the gap between the physical X-ray machine and the digital health record.

### 3.1 The "Nurse-Led Triage" Protocol

We propose implementing RadFlow-Edge within the framework of the South African Triage Scale (SATS), a validated tool for nurse-led emergency care in low-resource settings.10 The workflow is as follows:

Step 1: Patient Intake & Data Aggregation

The patient arrives at the clinic. The nurse records vital signs (SATS score inputs) and chief complaints (e.g., "Hemoptysis") into the EHR. RadFlow-Edge listens to the EHR database via HL7 FHIR standards, pulling this textual context automatically.

Step 2: Imaging & Auto-Routing

The patient undergoes a Chest X-ray. The digital X-ray system (modality) sends the image via DICOM protocol to the local hospital PACS (Picture Archiving and Communication System). RadFlow-Edge acts as a "DICOM Node," automatically intercepting the new study.

Step 3: AI-Augmented Analysis (The "Black Box" becomes Transparent)

RadFlow-Edge processes the image + text on the local server. It generates:

- A Triage Color Code (Green, Yellow, Orange, Red) based on radiologic severity.

- A Structured Preliminary Report.

- Visual Annotations (Bounding boxes around pathologies).

Step 4: The Consultative Interface (MedVQA)

The nurse views the image on a tablet or workstation.

- Scenario A (Confirmation): The AI highlights a fracture. The nurse agrees, accepts the report, and splints the arm.

- Scenario B (Exploration): The nurse suspects Pneumonia but the AI says "Normal." The nurse asks via chat: "Check for retrocardiac opacity." The AI re-evaluates specifically for that region and responds: "Retrocardiac space is clear. No opacity detected." This "second look" capability reduces missed diagnoses.

Step 5: Action & Disposition

- High Confidence/Emergency: The nurse initiates standing orders (e.g., oxygen, isolation for TB) immediately.

- Low Confidence/Ambiguous: The system utilizes its Uncertainty Quantification score to flag the case. These "Red Flag" cases are prioritized in the teleradiology queue for remote specialists, ensuring that the limited specialist attention is focused exactly where it is needed.11

### 3.2 Interoperability Standards

To solve "Fragmented Care" 1, RadFlow-Edge is built on open standards:

| Standard | Usage in RadFlow-Edge | Benefit |
| --- | --- | --- |
| DICOM / DICOMweb | Image Ingestion & Retrieval | Compatible with any standard digital X-ray machine (GE, Siemens, Phillips). |
| HL7 FHIR R4 | Patient History (Read) & Report (Write) | Seamless integration with existing EHRs (e.g., OpenMRS, DHIS2 commonly used in LMICs). |
| JSON | Internal Data Structure | Lightweight data exchange for the frontend UI. |

This interoperability ensures that RadFlow-Edge is not a siloed app but a "System Intelligence" component that enhances the entire hospital IT ecosystem.3

## 4. Technical Architecture

This section details the "Innovation & Technical Feasibility" 1 of RadFlow-Edge. The architecture is a sophisticated Edge-Native Multimodal RAG Pipeline.

### 4.1 Model Selection: Foundation Models for Radiology

We reject the use of simple classification models (e.g., ResNet-50) in favor of Foundation Models that offer generalization and reasoning capabilities.21

Primary Engine: CheXagent-8b We utilize CheXagent-8b, developed by Stanford AIMI.21

- Architecture: It is an Instruction-Tuned Large Language Model (LLM) connected to a Vision Encoder. It is specifically trained on massive datasets like MIMIC-CXR to understand radiology instructions (e.g., "Describe the airway," "Generate findings").22

- Why Chosen? Unlike generalist models (GPT-4V), CheXagent is domain-specific. It outperforms generalist models in medical accuracy and hallucination reduction.21 Critically, its weights are open (Hugging Face), allowing for offline deployment, unlike API-dependent models like GPT-4 or Gemini.22

Alternative Lightweight Engine: LLaVA-Med or Moondream2 For extremely resource-constrained hardware (e.g., Raspberry Pi or older laptops), we design a fallback to Moondream2 (1.8B parameters) or a distilled LLaVA-Med.24 Moondream2 is optimized for edge devices, requiring <2GB of RAM, making it feasible for battery-powered field clinics.25

### 4.2 The Inference Pipeline (Edge-Optimized)

Running an 8-billion parameter model on consumer hardware requires aggressive optimization. We employ 4-bit Quantization using the bitsandbytes library.17

#### 4.2.1 Quantization Strategy (QLoRA)

- Mechanism: Standard models use 32-bit floating-point numbers (FP32) for weights. We compress these to 4-bit NormalFloat (NF4) data types.

- Impact: This reduces the VRAM requirement of CheXagent-8b from ~16GB (in FP16) to approximately 5-6GB. This allows the model to run on a standard NVIDIA RTX 3060 or 4060 laptop GPU, which is accessible and affordable for LMIC clinics.17

- Performance: While quantization introduces a theoretical precision loss, techniques like QLoRA (Quantized Low-Rank Adaptation) maintain near-full performance by keeping a small set of adapter weights in higher precision.17

#### 4.2.2 The RAG Layer (Retrieval-Augmented Generation)

To mitigate hallucinations—where the AI invents findings—we implement a Visual RAG module.18

- Vector Database: We use a local instance of ChromaDB or FAISS.

- Knowledge Base: The database is populated with:

  - Clinical Guidelines: WHO TB protocols, Pneumonia treatment standards.

  - Verified Report Templates: "Gold Standard" reporting language from the MIMIC-CXR dataset.

- Workflow:

  - The Nurse's question ("Is this TB?") is converted to a vector embedding.

  - The system retrieves the relevant WHO guideline for TB radiological presentation.

  - This context is injected into the prompt: "Using the following WHO guidelines for TB diagnosis [Context], analyze the image for cavitary lesions..."

  - This "grounds" the AI, ensuring its reasoning follows medical logic rather than statistical probability alone.18

#### 4.2.3 Uncertainty Quantification (UQ)

Safety is paramount. We implement an Entropy-based Uncertainty or Convex Hull method.19

- Method: The model generates 5 variations of the answer. We measure the semantic divergence (entropy) between these answers.

- Logic: If the answers are widely different (High Entropy), the model is "hallucinating" or unsure.

- Output: The UI displays a "Confidence Meter." If Confidence < Threshold, the system forces a "Radiologist Referral" status, preventing the nurse from acting on shaky advice.

### 4.3 Hardware Specifications

| Component | Minimum Requirement (Field Clinic) | Recommended (Hospital Workstation) |
| --- | --- | --- |
| Processor | AMD Ryzen 5 / Intel i5 | AMD Ryzen 9 / Intel i9 |
| GPU | NVIDIA RTX 3050 (4GB VRAM) | NVIDIA RTX 4090 (24GB VRAM) or A6000 |
| RAM | 16 GB | 64 GB |
| Storage | 512 GB SSD | 2 TB NVMe SSD (for Local PACS cache) |
| OS | Ubuntu Linux 22.04 LTS | Ubuntu Linux 22.04 LTS |

This hardware profile ensures the solution is deployable without purchasing enterprise-grade servers.

## 5. Workforce Impact Analysis

The "Impact & Potential" judging criterion 1 requires a demonstration of how the solution transforms the health system. RadFlow-Edge delivers value by restructuring the labor market of diagnostics.

### 5.1 The Economic Logic of Task Shifting

In current systems, the scarce radiologist is a bottleneck. They spend significant time on:

- Normal Scans: Reading X-rays that have no pathology.

- Obvious Pathology: Confirming clear-cut cases of pneumonia or fractures.

- Complex Pathology: The difficult, subtle cases (e.g., early interstitial lung disease).

A radiologist should ideally spend 100% of their time on Category 3. Currently, they spend >60% on Categories 1 and 2.

RadFlow-Edge Impact: By empowering nurses to reliably handle Categories 1 and 2 (with AI supervision), we "filter" the stream.

- Throughput: A clinic that could only process 10 patients/day (limited by doctor availability) can now process 50/day (limited only by X-ray machine speed), as nurses handle the bulk of interpretation.9

- Cost-Effectiveness: Studies show that task-shifting is highly cost-effective, reducing the cost-per-diagnosis significantly while maintaining quality of care.12

### 5.2 Nurse Empowerment and Retention

Rural nursing is characterized by high stress and professional isolation. Nurses often feel "abandoned" with complex patients.29

- Cognitive Support: RadFlow-Edge acts as an "always-on" mentor. The conversational nature (MedVQA) allows the nurse to ask questions they might be too intimidated to ask a human doctor, fostering a safe learning environment.

- Skill Acquisition: Over time, the visual explanations (bounding boxes) train the nurse's own eye. The AI becomes a capacity-building tool, upskilling the workforce organically—a key component of "High-Value Health Systems" which emphasize empowering people.2

### 5.3 Reduction of Unnecessary Transfers

In rural areas, "When in doubt, refer out" is the standard safety protocol. This floods tertiary hospitals with patients who didn't need to be moved.

- Impact: By increasing the diagnostic confidence at the primary care level (the "Edge"), RadFlow-Edge reduces unnecessary referrals. This saves ambulance fuel, family travel costs, and bed space at central hospitals, optimizing the entire network's efficiency.2

## 6. Prototype Plan: The Hackathon Execution Strategy

To win the Harvard HSIL Hackathon (April 10-11, 2026), the team must deliver a functioning prototype, not just a pitch deck. The following roadmap ensures a high-scoring submission for "Implementation Plan" and "Team Skills".1

### 6.1 Pre-Hackathon Preparation (Weeks 1-4)

Success is determined before the event starts.

- Data Access: Secure access to MIMIC-CXR-JPG via PhysioNet (requires credentialing).30 Download the validation split (approx. 500 images) to a portable SSD.

- Model Caching: Download the CheXagent-8b weights and CLIP encoders from Hugging Face.22 These files are large (GBs); do not rely on venue Wi-Fi.

- Environment Config: Create a Docker container with PyTorch 2.3, cuda-12, bitsandbytes, and chainlit pre-installed to ensure all team members have identical environments.

### 6.2 The 48-Hour Sprint Schedule

Day 1: The Engine Room (Friday, April 10)

- 09:00 - 12:00 (Setup): Initialize the Git repository. Set up the local ChromaDB vector store.

- 12:00 - 16:00 (Backend - Model): Implement the CheXagent pipeline. Write the Python script to load the model in 4-bit precision (load_in_4bit=True).17 Test basic inference on 5 MIMIC images.

- 16:00 - 20:00 (Backend - RAG): Ingest the WHO TB Guidelines (PDF) into ChromaDB. Implement the retrieval logic: Query -> Embed -> Retrieve -> Augment Prompt.18

- 20:00 - 24:00 (API Layer): Wrap the model in a Fast API or simple Python function that accepts an image and text, and returns the response + confidence score.

Day 2: The Experience (Saturday, April 11)

- 08:00 - 12:00 (Frontend - Chainlit): Build the User Interface using Chainlit.32 Chainlit is chosen over Streamlit because it is natively designed for Chat/LLM interfaces, supporting multi-turn conversations and "Reasoning Steps" display out of the box.32

  - Features to Build: Chat window, Image uploader, "Confidence Bar" widget.

- 12:00 - 15:00 (Integration & Refinement): Connect the Frontend to the Backend. Test the "Nurse Persona" prompts. Polish the CSS to look professional (Clinical Dark Mode).

- 15:00 - 17:00 (Pitch Prep): Record a 2-minute "Live Demo" video. Hackathon internet can fail; a video is insurance. Draft the pitch focusing on the "Workforce" narrative.

### 6.3 Code Structure (Conceptual)

Python

# Conceptual Snippet for Hackathon
import torch
from transformers import AutoModelForCausalLM, AutoProcessor
from bitsandbytes import BnbQuantizationConfig

# 1. 4-Bit Quantization Config for Edge Deployment
bnb_config = BnbQuantizationConfig(
    load_in_4bit=True,
    bnb_4bit_quant_type="nf4", # Normal Float 4
    bnb_4bit_compute_dtype=torch.float16
)

# 2. Load CheXagent Model (The Brain)
model = AutoModelForCausalLM.from_pretrained(
    "StanfordAIMI/CheXagent-8b",
    quantization_config=bnb_config,
    device_map="auto"
)
processor = AutoProcessor.from_pretrained("StanfordAIMI/CheXagent-8b")

# 3. RAG Retrieval (The Safety)
context = retrieve_guidelines(nurse_query="Is this TB?")

# 4. Generate Response
prompt = f"Context: {context}. Question: {nurse_query}. Image: [IMG]. Answer:"
#... inference logic...

## 7. Use Scenario: A Day in the Life of RadFlow-Edge

To demonstrate "Challenge Relevance" 1, we present a narrative use case situated in the target environment.

Location: Mqanduli Community Health Centre, Eastern Cape, South Africa.

User: Sister Thandi, Senior Professional Nurse.

Context: No doctor on site today. The radiologist visits once a month.

10:00 AM: Patient Mr. Dlamini (58M) arrives. He works in the mines and has a persistent cough, night sweats, and weight loss. Sister Thandi suspects Tuberculosis (TB) or Silicosis.

10:15 AM: Mr. Dlamini gets a digital Chest X-ray.

10:17 AM: Sister Thandi logs into the RadFlow-Edge workstation. The X-ray is already there.

- Visual Triage: The patient is tagged with a Red border (High Priority).

- Preliminary Findings: The AI report reads: "Bilateral upper lobe reticulonodular opacities with apical cavitation in the right lung. Findings are highly suggestive of Post-Primary Tuberculosis. Differential diagnosis includes Silicosis given occupational history."

10:18 AM (The Conversation): Sister Thandi is unsure about the "Silicosis" aspect. She types into the chat:

- Thandi: "Show me the features that suggest Silicosis."

- RadFlow-Edge: The AI draws bounding boxes around specific nodules in the upper lobes. Response: "The symmetry of the perilymphatic nodules in the upper zones is characteristic of Silicosis. However, the cavitation (Red Box) is more specific to active TB. Co-infection is likely."

10:20 AM (Safety Check):

- Thandi: "Should I start TB treatment?"

- RadFlow-Edge (RAG Triggered): The system retrieves the SA National TB Guidelines 2025.

- Response: "Protocol requires bacteriological confirmation for new cases. Action: Isolate patient immediately. Collect sputum for GeneXpert Ultra. Do not start medication until confirmed, unless patient is critically unstable."

10:25 AM: Sister Thandi isolates Mr. Dlamini. She has managed the case with the sophistication of a specialist, guided by the AI. The patient is safe, the diagnostic workup is correct, and the "Fragmented Care" loop is closed.

## 8. Differentiation

RadFlow-Edge competes with existing Teleradiology and CAD platforms. Here is how it differentiates based on the "Innovation" criteria 1:

| Feature | Traditional CAD (e.g., Qure.ai, Annalise) | Teleradiology Services | RadFlow-Edge (Proposed) |
| --- | --- | --- | --- |
| Primary Output | Heatmap + Probability Score | Written Report (Human) | Conversational Dialogue (MedVQA) |
| Turnaround Time | Instant (<1 min) | Slow (4 - 48 hours) | Instant (<1 min) |
| Connectivity | Often Cloud-Based | Requires Upload | 100% Offline / Edge-Native |
| Context Awareness | Image Only | Image + Text (if provided) | Multimodal (Image + EHR + Guidelines) |
| User Experience | Passive (Read Only) | Passive (Read Only) | Active (Question & Answer) |
| Safety Mechanism | Black Box | Human Accountability | Uncertainty Quantification + RAG |
| Cost | License Fee / Scan | Per Read Fee ($$$) | Open Source / Hardware Cost Only |

Key Differentiator: The Conversational Interface. Traditional CAD tells you what it thinks. RadFlow-Edge lets you challenge what it thinks. This builds trust and serves the educational "Health Literacy" theme 1 in a way static tools cannot.

## 9. Ethical & Safety Considerations

The deployment of AI in vulnerable populations demands rigorous ethical governance.1

### 9.1 Algorithmic Bias & Fairness

AI models trained on Western datasets (like MIMIC-CXR from Boston) may underperform on African populations due to differences in disease prevalence (e.g., high TB/HIV burden) and body habitus.7

- Mitigation: We employ RAG to inject local context (local guidelines) which biases the model towards locally relevant diagnoses.

- Validation: The prototype will be tested on diverse datasets (CheXpert is used for demographic parity checks).36 We commit to a "Federated Learning" roadmap where local hospitals can fine-tune the model on their own data without sharing patient privacy.34

### 9.2 Data Sovereignty & Privacy

Cloud-based AI often violates data sovereignty laws (e.g., POPIA in South Africa) by exporting patient data to US servers.

- Solution: Edge Computing. RadFlow-Edge processes data on the device within the clinic. No patient data ever leaves the facility. This is the ultimate privacy safeguard and ensures compliance with GDPR and HIPAA.37

### 9.3 The "Human-in-the-Loop" Liability

There is a risk of "Automation Bias," where nurses blindly follow the AI.

- Safeguard: The UI explicitly labels all outputs as "Draft Preliminary Findings." The Uncertainty Quantification module 19 forcibly disables the AI's advice if confidence is low, requiring a human override.

- Legal: The system is defined as a Clinical Decision Support System (CDSS), not a diagnostic device, keeping the legal liability (and the final decision) with the clinician.34

### 9.4 Explainability & Trust

Black-box AI is unethical in medicine because it denies the patient and clinician the right to understand the diagnosis.35

- Solution: MedVQA is inherently explainable. By forcing the model to generate text justifying its visual findings (e.g., "I see opacity because of the density difference in the right lobe"), we provide transparency that respects the clinician's intelligence.

## Conclusion

RadFlow-Edge is not just an app; it is a structural intervention designed for the reality of the 21st-century healthcare crisis. It accepts the harsh truth that we cannot train enough radiologists to meet the needs of the developing world.5 Instead, it uses the "High-Value Health Systems" approach 2 to optimize the resources we do have: the dedicated, capable nursing workforce.

By converging the latest advancements in Multimodal AI (CheXagent), Edge Computing (Quantization), and Safety Engineering (RAG + UQ), RadFlow-Edge offers a solution that is technically innovative, clinically essential, and ethically robust. It answers the Harvard HSIL Hackathon's call to build systems that are not just "smart," but "wise"—using intelligence to bridge the gap between human capability and human need.

### Key Research & Data Sources Used

- Hackathon Framework: 1

- Workforce Statistics: 4

- AI Models & Architecture: 15

- Clinical Protocols: 9

- Ethics & Safety: 18

- Prototype Tools: 30

#### Works cited

- Harvard HSIL Hackthon 2026 – IRIIC UIU, accessed January 29, 2026, https://iriic.uiu.ac.bd/harvard-hsil-hackthon-2026/

- Transitioning to High-Value Health Systems in G20+ countries - Harvard University, accessed January 29, 2026, https://hsph.harvard.edu/wp-content/uploads/2024/10/HVHS-G20-Study_-Global-Innovation-Hub.pdf

- Health Systems Innovation Lab, Harvard University, 2024 © 1, accessed January 29, 2026, https://hsph.harvard.edu/wp-content/uploads/2024/12/Harvard-HVHS-Report_2024_vFinal.pdf

- ASRT Staffing and Workplace Survey Shows Vacancy Rate Increases Near Record Highs, Aligning With Overall Health Care Profession Trends, accessed January 29, 2026, https://www.asrt.org/main/news-publications/news/article/2025/07/24/asrt-staffing-and-workplace-survey-shows-vacancy-rate-increases-near-record-highs-aligning-with-overall-health-care-profession-trends

- New Studies Shed Light on the Future Radiologist Workforce Shortage by Projecting Future Radiologist Supply and Demand for Imaging, accessed January 29, 2026, https://www.neimanhpi.org/press-releases/new-studies-shed-light-on-the-future-radiologist-workforce-shortage-by-projecting-future-radiologist-supply-and-demand-for-imaging/

- Radiology Workforce Shortage and Growing Demand: Something Has to Give, accessed January 29, 2026, https://www.acr.org/Clinical-Resources/Publications-and-Research/ACR-Bulletin/Radiology-Workforce-Shortage-and-Growing-Demand-Something-Has-to-Give

- MIMIC-CXR Database v2.1.0 - PhysioNet, accessed January 29, 2026, https://physionet.org/content/mimic-cxr/

- Bridging the AI Gap in Clinical Imaging: Opportunities and Strategies for Low- and Middle-Income Countries | Journal of Global Radiology, accessed January 29, 2026, https://publishing.escholarship.umassmed.edu/jgr/article/id/985/

- A Nurse-Led Triage Model: Promoting Emergency Care in India - ResearchGate, accessed January 29, 2026, https://www.researchgate.net/publication/397654688_A_Nurse-Led_Triage_Model_Promoting_Emergency_Care_in_India

- Reducing door-to-triage time with improving triage coverage in a rural primary healthcare centre in India - PubMed Central, accessed January 29, 2026, https://pmc.ncbi.nlm.nih.gov/articles/PMC12164309/

- Global evidence on the effectiveness of task-shifting and task-sharing strategies for managing individuals with multimorbidity: systematic review and meta-analysis - PubMed Central, accessed January 29, 2026, https://pmc.ncbi.nlm.nih.gov/articles/PMC12352192/

- Task Shifting for Non-Communicable Disease Management in Low and Middle Income Countries – A Systematic Review | PLOS One - Research journals, accessed January 29, 2026, https://journals.plos.org/plosone/article?id=10.1371/journal.pone.0103754

- Multimodal AI for Clinical Precision: Integrating Text, Images & Speech - John Snow Labs, accessed January 29, 2026, https://www.johnsnowlabs.com/multimodal-ai-for-clinical-precision-integrating-text-images-speech/

- Task shifting for point of care ultrasound in primary healthcare in low- and middle-income countries-a systematic review - PMC - PubMed Central, accessed January 29, 2026, https://pmc.ncbi.nlm.nih.gov/articles/PMC8904233/

- Blog - Health AI Developer Foundations | Google for Developers, accessed January 29, 2026, https://developers.google.com/health-ai-developer-foundations/blog

- Revolutionizing Healthcare with Multimodal AI: The Next Frontier - Great Learning, accessed January 29, 2026, https://www.mygreatlearning.com/blog/revolutionizing-healthcare-with-multimodal-ai/

- bitsandbytes-foundation/bitsandbytes: Accessible large language models via k-bit quantization for PyTorch. - GitHub, accessed January 29, 2026, https://github.com/bitsandbytes-foundation/bitsandbytes

- Reducing Hallucinations of Medical Multimodal Large Language Models with Visual Retrieval-Augmented Generation - arXiv, accessed January 29, 2026, https://arxiv.org/html/2502.15040v1

- Uncertainty-Driven Expert Control: Enhancing the Reliability of Medical Vision-Language Models - arXiv, accessed January 29, 2026, https://arxiv.org/html/2507.09209v1

- Nurses' Perception on the Hindrances of Triage System in Emergency Unit - PMC - NIH, accessed January 29, 2026, https://pmc.ncbi.nlm.nih.gov/articles/PMC11530285/

- A clinically accessible small multimodal radiology model and evaluation metric for chest X-ray findings - NIH, accessed January 29, 2026, https://pmc.ncbi.nlm.nih.gov/articles/PMC11962106/

- StanfordAIMI/CheXagent-8b · Hugging Face, accessed January 29, 2026, https://huggingface.co/StanfordAIMI/CheXagent-8b

- Lecture 10: Vision-Language Generative Models in Biomedicine, accessed January 29, 2026, https://web.stanford.edu/class/biods276/lectures/Lecture_10.pdf

- Vision-Language Models for Edge Networks: A Comprehensive Survey - arXiv, accessed January 29, 2026, https://arxiv.org/html/2502.07855v1

- VLM on Edge: Worth the Hype or Just a Novelty? | LearnOpenCV, accessed January 29, 2026, https://learnopencv.com/vlm-on-edge-devices/

- Quantization using bitsandbytes - deepblue research - Medium, accessed January 29, 2026, https://dbrpl.medium.com/quantization-using-bitsandbytes-f8bbeb6b4576

- Retrieval-augmented generation improves precision and trust of a GPT-4 model for emergency radiology diagnosis and classification: a proof-of-concept study - NIH, accessed January 29, 2026, https://pmc.ncbi.nlm.nih.gov/articles/PMC12226682/

- Improving Medical Diagnostics with Vision-Language Models: Convex Hull-Based Uncertainty Analysis - arXiv, accessed January 29, 2026, https://arxiv.org/html/2412.00056v1

- Strategies to Enhance Knowledge and Practical Skills of Triage amongst Nurses Working in the Emergency Departments of Rural Hospitals in South Africa - MDPI, accessed January 29, 2026, https://www.mdpi.com/1660-4601/18/9/4471

- MIMIC-CXR-JPG - chest radiographs with structured labels v2.1.0 - PhysioNet, accessed January 29, 2026, https://physionet.org/content/mimic-cxr-jpg/

- Downloading MIMIC-CXR-JPG data from Google cloud - Exploring Software, accessed January 29, 2026, https://echorand.me/posts/downloading-mimic-cxr-jpg/

- Chainlit vs. Streamlit: Choosing the Right Tool for Your AI Application - Oreate AI Blog, accessed January 29, 2026, https://www.oreateai.com/blog/chainlit-vs-streamlit-choosing-the-right-tool-for-your-ai-application/58f353549262a444da5a9ab16200b1f5

- Rapid Prototyping of Chatbots with Streamlit and Chainlit - Towards Data Science, accessed January 29, 2026, https://towardsdatascience.com/rapid-prototyping-of-chatbots-with-streamlit-and-chainlit/

- Do these 5 things to ensure AI is used ethically, safely in care, accessed January 29, 2026, https://www.ama-assn.org/practice-management/digital-health/do-these-5-things-ensure-ai-used-ethically-safely-care

- Ethical challenges and evolving strategies in the integration of artificial intelligence into clinical practice - PubMed Central, accessed January 29, 2026, https://pmc.ncbi.nlm.nih.gov/articles/PMC11977975/

- CheXpert Demo Data - Center for Artificial Intelligence in Medicine & Imaging, accessed January 29, 2026, https://aimi.stanford.edu/datasets/chexpert-demo-data

- The ethics of using artificial intelligence in medical research - Kosin Medical Journal, accessed January 29, 2026, https://kosinmedj.org/journal/view.php?doi=10.7180/kmj.24.140

- Publication: Rethinking Health System Design: Towards a High Value Health System Model, accessed January 29, 2026, https://dash.harvard.edu/entities/publication/9bc097f1-7bca-4b75-8ad3-20128cec52b1

- Navigating the Radiologist Shortage: Strategies for Meeting the Rising Demand in Healthcare, accessed January 29, 2026, https://medicushcs.com/resources/navigating-the-radiologist-shortage

- CheXpert Plus - Stanford AIMI Shared Datasets, accessed January 29, 2026, https://stanfordaimi.azurewebsites.net/datasets/5158c524-d3ab-4e02-96e9-6ee9efc110a1

# Workflow

Roles:

- The ML Architect (Focus: The AI Models)

- The Backend Engineer (Focus: RAG & API)

- The Frontend Developer (Focus: UI & User Experience)

- The Product Lead (Focus: Data, Pitch & Integration)

### Phase 1: Pre-Hackathon (Weeks 1-4)

Goal: Eliminate download times and environment issues before the clock starts.

| Role | Key Responsibilities |
| --- | --- |
| ML Architect | Model Acquisition: Download the CheXagent-8b weights and CLIP encoders from Hugging Face. These are large files; do not attempt this on venue Wi-Fi. Quantization Test: Write a script to load the model using bitsandbytes (4-bit quantization) to verify it fits on your GPU memory (target <6GB VRAM). |
| Backend Engineer | Vector DB Setup: Install ChromaDB locally. Prepare the ingestion scripts. Knowledge Base: Download PDF versions of the "SA National TB Guidelines 2025" and WHO Pneumonia protocols. Convert these PDFs into clean text/JSON formats for the database. |
| Frontend Developer | Framework Mastery: Familiarize yourself with Chainlit. Clone the Chainlit cookbook repo and build a "Hello World" chat interface that accepts image uploads. UI Mockup: Sketch the interface layout: Chat on the left, Image Viewer with bounding boxes on the right. |
| Product Lead | Data Access: Register for PhysioNet credentialing immediately to access MIMIC-CXR-JPG. Download the validation split (~500 images) to a portable SSD. Environment: Create the team Docker container (PyTorch 2.3, cuda-12, Chainlit) so everyone codes on the exact same OS setup. |

### Phase 2: Day 1 - The Build (Friday, April 10)

Goal: A working backend pipeline by midnight.

#### Morning (09:00 - 13:00): Infrastructure

- ML Architect: Initialize the Git repo. Set up the local Python environment. Verify the GPU is detecting CUDA.

- Backend Engineer: Initialize ChromaDB. Write the script to "chunk" the text from the WHO guidelines and generate vector embeddings.

- Frontend Developer: Set up the Chainlit project structure. Create the basic "Persona" for the bot (System Prompt: "You are a helpful radiologist assistant...").

- Product Lead: Sort the MIMIC-CXR images. Select 10 "Gold Standard" demo cases (e.g., one clear TB, one Pneumonia, one Normal) to use for testing. Write the specific "User Stories" for the demo video.

#### Afternoon (13:00 - 18:00): Core Development

- ML Architect: The Heavy Lifting. Implement the inference pipeline. Ensure the image is correctly passed to the Vision Encoder and the text prompt prompts the LLM.

- Backend Engineer: The Safety Net. Build the Retrieval Function. When a query comes in, search the Vector DB for relevant guidelines and return the top 3 chunks.

- Frontend Developer: The Interface. Build the "Image Uploader" widget in Chainlit. Ensure the image displays correctly in the chat stream.

- Product Lead: Refining the Pitch. Draft the script for the 2-minute video. Start building the slide deck, focusing on the "Workforce Crisis" narrative from the problem statement.

#### Evening (18:00 - Midnight): Connection

- ML Architect & Backend Engineer: Pair program to connect the RAG output to the Model Input.

  - Task: Modify the prompt to be: Context: {Retrieved_Guidelines}. Image: {Pixel_Values}. User Question: {Query}. Answer:

- Frontend Developer: Implement the "Thinking..." animation to manage latency while the model processes.

- Product Lead: Test the raw model output against the 10 demo cases. Note down where the model "hallucinates" so the Prompt Engineer can fix the system instructions.

### Phase 3: Day 2 - Integration & Polish (Saturday, April 11)

Goal: A seamless demo and a compelling pitch.

#### Morning (08:00 - 12:00): The "Full Stack" Merge

- ML Architect: Implement Uncertainty Quantification. If the model generates low-confidence tokens, force the output to say "Consult Specialist."

- Backend Engineer: Wrap the Python inference script into an API (or direct function call) that the Chainlit frontend can trigger.

- Frontend Developer: Add the "Confidence Meter" visual to the UI (Green/Yellow/Red bar). Style the app with a "Clinical Dark Mode" (professional, high contrast).

- Product Lead: The Narrative. Rehearse the "Sister Thandi" use case. Ensure the demo follows the script: Upload Image -> AI Warns of TB -> Nurse asks about Silicosis -> AI explains reasoning.

#### Afternoon (12:00 - 15:00): Triage & Recording

- Everyone: Code Freeze. Stop adding features. Fix bugs only.

- Frontend & Product: Record the "Live Demo" video. Do this before the deadline. Capture the screen as you run through the Sister Thandi scenario.

- ML & Backend: Write the README.md. Document the "4-bit Quantization" and "Edge-Native" aspects clearly—judges look for technical feasibility here.

#### Final Countdown (15:00 - 17:00): Submission

- Product Lead: Submit the Devpost/Form. Upload the Video (YouTube/Vimeo) and the Pitch Deck.

- Team: Practice the live pitch presentation. Assign who answers which type of question (e.g., ML Architect answers technical questions, Product Lead answers business/impact questions).

### Crucial Checkpoints (The "Winning Factors")

- The "Offline" Proof: During the demo, if possible, show the wifi is disconnected (or mention it heavily) to prove the Edge-Native capability.

- The "Why": Ensure the chat output doesn't just say "TB." It must say "TB because of the cavitation in the upper right lobe." This proves the Explainability criterion.

- Safety First: Explicitly show the RAG system citing the "WHO Guidelines" in the chat response. This scores high points for Ethical Governance.